## 17 08 22 SEA HP Database
MYA-SEA | [5 empty] | Administrative location |  |  |  | Hydrological location | [6 empty] | Hydrometeorology | [5 empty] | Project Characteristics | [21 empty] | Transmission |  |  |  | Development | [10 empty] | Monthly Mean Flows (m3/s) according to MoEE
ID | Hydropower Plant | Status | Status 2 | LAT N | LON E | State/Region | District | Township | Village | Basin | Sub-Basin (HP Chapter) | Sub-Basin (GIS Maps) | River/ Watershed | HP or Multipurpose | D/S Distance to irrigation extraction if not from dam (km) | Catchment Area (km2) | Catchment Annual rainfall (mm) | GIS Rainfall | Mean annual inflow (MAF) into reservoir (m3/s) | Annual Runnof into Reservoir (hm3) | Unit flow l/s/km2 | Qmin/ MAF | Dam Type | Dam Height (m) | Full Supply Level (FSL) (m) | Low Water Level (LWL) (m) | Drawdown (m) | Reservoir Area (km2) | Total Length of reservoir (km) | Reservoir Dead Storage (hm3) | Reservoir Live Storage (hm3) | Reservoir Total Storage (hm3) | Reservoir Retention period (days) | RoR or Storage | Distance along river between dam and powerhouse (km) | Powerhouse Type | Total Powerplant Design Discharge (m3/s) | Turbine discharge/ Min Flow | Turbine Design Head (m) | Number of units | Installed Capacity (MW) | Annual Generation (GWh) | Firm Power (MW) | Plant Factor | Transmission Line Voltage level (kV) | TL Length (km) | TL Connected to S/S | Acces Road Length (km) | Developer | Country | Investment by | Installed Capacity (MW) | Myanmar Selfuse (MW) | % use MYA | Export (MW) | Export to | Estimated No. Construction Workers (planned projects) | Actual Commissioning Year | MoEE Planned Comissioning Year | Jan | Feb | Mar | Apr | May | June | July | Aug | Sep | Oct | Nov | Dec
2 | Baluchaung 1 | Built | E | 19.648 | 97.287 | Kayah | Loikaw | Loikaw |  | Thanlwin | Nam Pawn | Baluchaung | Baluchaung | HP |  | 7872 |  | 1493 | 36.4947 | 1150.8971 | 4.636 | 81.38% | CG | 11 | 867 | 864 | 3 | 0.004 | 0.2 | 0 | 2.07 | 2.07 | 0.65649 | RoR | 10.33 | Above ground | 46.2 | 1.5556 | 69.845 | 2 | 28 | 200 | 26 | 0.81539 | 132 | 5.313 | Baluchaung 2 |  | MoEE | Myanmar | Sole Investment | 28 | 28 | 100% | 0 |  |  | 1992
4 | Baluchaung 2 | Built | E | 19.557 | 97.358 | Kayah | Loikaw | Loikaw |  | Thanlwin | Nam Pawn | Baluchaung | Baluchaung | HP |  | 7910 |  | 1493 | 38 | 1198.368 | 4.804 | 78.68% | Weir | 0 | 787 | 784 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | RoR | 7.06 | Above ground | 47.6616 | 1.594 | 421.952 | 2 | 168 | 1190 | 155 | 0.8086 | 230 | 153.79+193.2 | Taungoo and Shwemyo |  | MoEE | Myanmar | Sole Investment | 168 | 168 | 100% | 0 |  |  | 1974
6 | Baluchaung 3 | Built | E | 19.546 | 97.397 | Kayah | Loikaw | Loikaw |  | Thanlwin | Nam Pawn | Baluchaung | Baluchaung | HP |  | 8042 |  | 1493 | 40.2 | 1267.7472 | 4.9988 | 74.63% | Intake | 0 | 339 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | RoR | 5.08 | Above ground | 51 | 1.7 | 114 | 6 | 52 | 334 |  | 0.73323 | 132 | 4.67 | Baluchaung 3 |  | Future Energy | Myanmar | Local BOT | 52 | 52 | 100% | 0 |  |  | 2014
7 | Baluchaung (upper) | Construction | C | 20.4846 | 96.7819 | Shan | Taunggyi | Pin Laung | Indein | Thanlwin | Nam Pawn | Baluchaung | Baluchaung | HP |  | 356 | 1925 | 1493 | 11.06 | 348.7882 | 31.0674 | 43.31% |  | 35 | 1140 | 1125 | 15 | 9.7 | [6 empty] | 3 | Above ground | 16.029 | 3.3464 | 147.98 | 2 | 30 | 90.1 | 3.2 | 0.34285 | 66 | 32 | Kalaw |  | NeoEnergy Oasis | Myanmar | Local BOT | 30 | 30 | 100% | 0 |  |  |  | 2019 | 7.25 | 6.16 | 5.2 | 4.79 | 5.89 | 9.8 | 13.18 | 20.69 | 21.69 | 16.41 | 12.41 | 8.95
8 | Bawgata | LocMoU | P | 18.2556 | 96.8485 | Bago | Taungoo | Kyauk Gyi |  | Sittaung | Bawgata | Bawgata | Bawgata | HP |  | 260 |  | 2806 | 9.5 | 299.592 | 36.5385 | 9.474% | Rockfill | 79.9 |  |  |  | 19.43 |  | 556.67 | 278.33 | 835 | 339.096 | S | 0 | [5 empty] | 160 | 500 |  | 0.35674 |  |  |  |  | Thoolei | Myanmar | Local BOT | 160 | 160 | 100% | 0 |  | 700 |  | 2020
9 | Belin | LocMoU | P | 17.5197 | 97.2435 | Mon | Thaton | Bilin |  | Bilin | Bilin | Bilin | Bilin River | HP |  | 2250 | 3700 | 3138 | 190 | 5991.84 | 84.4444 | 5.263% |  | 131 |  |  |  | 310 |  | 220 | 9491 | 9711 | 578.1555 | S | 0 | [5 empty] | 280 |  |  | - | 230 | 61 | Thaton |  | HCDG | Myanmar | Local BOT | 280 | 280 | 100% | 0 |  | 1100 |  | 2021 | 25 | 18 | 13 | 10 | 22 | 192 | 537 | 771 | 418 | 167 | 64 | 37
10 | Buywa (upper) | GOM Plan | P | 20.7661 | 94.0818 | Magway | Minbu | Setotaya |  | Ayeyarwady | Mone Chaung | Mone Chaung | Mon Chaung | Multi |  | 2305 |  | 1694 | 79 | 2491.344 | 34.2733 | 9.241% |  | 137.5 |  |  |  | 76.2 |  | 602 | 119.17 | 721.17 | 17.4593 | S | 0 | [5 empty] | 150 | 534 |  | 0.40639 |  |  |  |  | MOALI | Myanmar | Sole Investment | 150 | 150 | 100% | 0 |  | 600 |  | 2019
11 | Buywa | Construction | C | 20.6581 | 94.1508 | Magway | Minbu | Setotaya |  | Ayeyarwady | Mone Chaung | Mone Chaung | Mon Chaung | Multi |  | 3108 |  | 1694 |  | 0 |  |  |  | 46 |  |  |  | 38.1 |  | 69.96 | 139.05 | 209.01 | - | - | 0 | [5 empty] | 42 |  |  | - |  |  |  |  | MOALI | Myanmar | Sole Investment | 42 | 42 | 100% | 0 |  |  |  | 2018
14 | Chipwi | JVA | P | 25.8905 | 98.1257 | Kachin | Myitkyina | Chipwi | Chipwi | Ayeyarwady | Ayeyarwady Headwaters | Nmae Hka | N'Mai Hka | HP |  | 21734 |  | 1540 | 2210 | 69694.56 | 101.684 | 21.99% | CFRD | 203 | 400 | 385 | 15 | 27.7 | 62 | 1530 | 380 | 1910 | 1.9901 | RoR | 0 | Underground | 2761.8545 | 5.6828 | 141 | 5 | 3400 | 18200 |  | 0.61107 |  |  |  |  | CPI | PRC | Foreign JV/BOT | 3400 | 340 | 50% | 1700 | PRC | 10700 |  | 2020 | 486 | 523 | 787 | 1201 | 1678 | 3754 | 5240 | 4061 | 3452 | 2369 | 979 | 603
15 | Chipwi Nge | Built | E | 25.8061 | 98.184 | Kachin | Myitkyina | Chipwi | Chipwi | Ayeyarwady | Ayeyarwady Headwaters | Nmae Hka | Chipwi Hka | HP |  | 552.3 |  | 1540 | 40.1 | 1264.5936 | 72.6055 | 11.72% | CG | 47.5 | 740 | 735 | 5 | 0.07 | 0.67 | 0.95 | 0.28 | 1.23 | 0.080816 | RoR | 16.7 | Above ground | 26.1872 | 5.5717 | 433 | 3 | 99 | 599 | 25.9 | 0.6907 | 132 | 98 | Waingmaw |  | SPIC | PRC | Foreign JV/BOT | 99 | 20 | 20.2% | 79 |  |  | 2013
17 | Dapein 1 | Built | E | 24.4215 | 97.5254 | Kachin | Bhamo | Bhamo |  | Ayeyarwady | Dapein | Dapein | Dapein | HP |  | 6002 | 1330 | 1686 | 319 | 10059.984 | 53.149 | 19.44% | Concrete | 46 | 250 |  |  | 0.35 | 3.63 | 7.62 | 14.78 | 22.4 | 0.53625 | RoR | 4.29 | Above ground |  |  |  |  | 240 | 1065 | 30.05 | 0.50656 | 132 | 36.7 | Bamaw |  | China Datang | PRC | Foreign JV/BOT | 240 | 19 | 7.917% | 221 | PRC |  | 2011
18 | Dapein 2 | MOU | P | 24.3683 | 97.4214 | Kachin | Bhamo | Moemauk |  | Ayeyarwady | Dapein | Dapein | Dapein | HP |  | 6220 | 1330.4 | 1686 | 331 | 10438.416 | 53.2154 | 19.34% | CG | 59.1 | 179 | 174 | 5 |  | 8 | 18.73 | 36.36 | 55.09 | 1.2714 | RoR | 0 | Above ground | 380.44 | 5.9444 | 41.5 | 2 | 140 | 641.7 | 17.58 | 0.52324 | 230 | 16 | Dapein1 |  | DUHD | PRC | Foreign JV/BOT | 140 | 70 | 50% | 70 |  | 600 |  | 2022
20 | Deedoke | MOU | P | 21.6872 | 96.4045 | Mandalay | Pyinoolwin | Kyaukse | Hngel Kyi Thaik | Ayeyarwady | Myitnge | Lower Myitnge | Lower Myitnge | HP |  | 28695 | 1300 | 1596 | 491.3736 | 15495.9592 | 17.124 | 21.45% | RCC Gravity Dam | 26.5 | 81 | 80 | 1 |  | 21 |  |  | 13 | 0 | ROR | 0 | In dam | 840 | 6.6414 | 8 | 3 | 60 | 338 |  | 0.64307 | 132 | 20 | Belin |  | Andritz Hydro | Austria | Foreign JV/BOT | 60 | 66 | 110% | -6 |  | 200 |  | 2020
21 | Dum Ban | MOU | P | 25.5116 | 97.907 | Kachin | Myitkyina | Wyunmaw | Sadon | Ayeyarwady | Ayeyarwady Headwaters | Nmae Hka | N'Mai Hka Tributary | HP |  | 660 | 2822 |  | 38.4 | 1210.9824 | 58.1818 | 28.65% | CG | 81 | 405 | 370 | 35 |  | 5 | 4.35 | 29.7 | 34.05 | 8.9518 | S | 3.4 | Underground | 82.9276 | 7.5389 | 177.555 | 2 | 130 | 371 | 16.21 | 0.32578 |  |  |  |  | YBEP/Chan Yinn Khuu | PRC/MYA | Foreign JV/BOT | 130 | 130 | 100% | 0 |  | 500 |  | 2020 | 16.6 | 12.8 | 11 | 15.1 | 25 | 70.7 | 104.4 | 68.1 | 48.3 | 40 | 22.8 | 17.7
23 | Gaw Lan | JVA | P | 26.0519 | 98.5805 | Kachin | Myitkyina | Chipwi |  | Ayeyarwady | Ayeyarwady Headwaters | Naw Chang Hka | Naw Chang Hka | HP |  | 740 | 3500 | 1540 | 56.1 | 1769.1696 | 75.8108 | 7.843% | CG | 47 | 1510 | 1495 | 15 | 6.68 | 3 | 0.32 | 1.04 | 1.36 | 0.21456 | RoR | 11 | Above ground | 76.4 | 17.3636 | 175 | 2 | 120 | 593.8 | 24.51 | 0.56488 | 230 | 15 | Hawkawn |  | YEIG/IGOEC | PRC/MYA | Foreign JV/BOT | 120 | 60 | 50% | 60 |  | 500 |  | 2026
26 | Hawkham (upper) | MOU | P | 19.2117 | 97.3997 | Kayah | Bawlakhe |  |  | Thanlwin | Nam Pawn | Nam Pawn | Nam Pawn | HP |  | 16884 | 1100 | 1446 | 334 | 10533.024 | 19.782 | 18.32% |  | 72 | 206 |  |  |  | 29 |  |  | 333 |  |  | 0 |  | 360 | 5.8824 |  |  | 180 | 755 |  | 0.47882 |  |  |  |  | TEI/HCTC | SIN/MYA | Foreign JV/BOT | 180 |  | 0% |  |  | 700 |  | 2020
27 | He Kou | MOU | P | 21.3413 | 100.7209 | Shan | He Kou |  |  | Mekong | Nam Lwe | Nam Lwe | Nam Lwe | HP |  | 15103 |  | 1381 | 359 | 11321.424 | 23.7701 | 19.83% | [5 empty] | 6.5 | 27 | 56.32 | 11.56 | 67.88 | 0.37269 | RoR | 0 | [5 empty] | 138 | 483 |  | 0.39954 |  |  |  |  | YNIC | PRC | Foreign JV/BOT | 138 | 69 | 50% | 69 | <-PRC? | 600 |  | 2025 | 142 | 108 | 82.2 | 71.2 | 109 | 286 | 760 | 1030 | 710 | 457 | 321 | 202
28 | Hkankawn | MOA | P | 26.0239 | 98.4295 | Kachin | Myitkyina | Tsawlaw | Tsawlaw | Ayeyarwady | Ayeyarwady Headwaters | Naw Chang Hka | Naw Chang Hka | HP |  | 1326 | 3625 | 1540 | 96.5 | 3043.224 | 72.7753 | 32.12% |  | 42.1 |  |  |  | 1.95 | 2.8 | 1.95 | 2.92 | 4.87 | 0.35022 | RoR | 0 | [5 empty] | 140 | 769 |  | 0.62704 | 230 | 15 | Tongxinqiao |  | YEIG/IGOEC | PRC/MYA | Foreign JV/BOT | 140 | 70 | 50% | 70 | <-PRC? | 600 |  | 2026 | 46 | 34.9 | 31.7 | 31 | 31.3 | 52.9 | 149 | 243 | 197 | 145 | 120 | 70.9
30 | Pisa | MOA | P | 26.5984 | 98.3431 | Kachin | Putau | Kanglanphu |  | Ayeyarwady | Ayeyarwady Headwaters | Nmae Hka | N'Mai Hka | HP |  | 16689 | 3000 | 2524 | 1730 | 54557.28 | 103.6611 | 4.058% | CFRD | 153 | 665 | 650 | 15 | 7.9 | 31 | 306 | 229 | 535 | 1.5321 | RoR | 0 | Underground | 1803.7123 | 15.4163 | 127 | 4 | 2000 | 12870 |  | 0.73459 |  |  |  |  | CPI | PRC | Foreign JV/BOT | 2000 |  |  |  | <-PRC? | 7100 |  | 2030 | 114 | 98.3 | 85 | 70.2 | 100 | 312 | 590 | 619 | 463 | 400 | 244 | 152
31 | Tamanthi | Suspended | P | 25.3222 | 95.297 | Sagaing | Hkamti | Htamanthi | Homemalin | Chindwin | Chindwin | Upper Chindwin | Chindwin | HP |  | 108.85 | 2964 |  | 3573 | 112678.128 | 108.85 | 16.15% |  | 74.1 |  |  |  | 509 |  | 6312 | 14610 | 20922 | 47.3264 | S | 0 | [5 empty] | 1200 | 6685 |  | 0.63594 |  |  |  |  | NHPC | India | Foreign JV/BOT | 1200 |  |  |  | India | 4600 |  |  | 704 | 596 | 577 | 688 | 1871 | 5534 | 10797 | 8681 | 6474 | 4009 | 1620 | 1038
33 | Hutgyi | MOA | P | 17.528 | 97.747 | Kayin | Hpapun | Kamamung |  | Thanlwin | Thanlwin Mainstem | Lower Thanlwin | Thanlwin Mainstem | HP |  | 311167 | 2436 | 1540 | 4409 | 139042.224 | 14.1692 | 31.59% | RCC Gravity Dam | 118 | 48 | 40 | 8 | 27.1 | 16 | 338 | 171 | 509 | 0.44889 | RoR | 0 | At dam toe | 648 | 3.7215 | 30 |  | 1360 | 7325 |  | 0.61484 | 230 |  | 230-kV TL Thaton SS and 33 kV TL Myainnggyingu SS MYA |  | Sinohydro+EGATi+IGOEC | PRC/THA/MYA | Foreign JV/BOT | 1360 | 136 | 10% | 1224 | Thailand | 5100 |  | 2020 | 1774 | 1459 | 1393 | 1657 | 2315 | 4532 | 8002 | 10338 | 8928 | 6018 | 3859 | 2421
35 | Kabaung | Built | E | 18.8967 | 96.2208 | Bago | Taungoo | Oak Twin |  | Sittaung | Other Sittaung | Other Sittaung | Kabaung Chaung | Multi | 10.8 | 1083 |  | 2081 | 36.1 | 1138.4496 | 33.3333 | 11.91% | Rock/Embankment? | 61 | 119 |  |  | 150 | 16 | 1083.72 | 384.28 | 1468 | 123.2046 | S | 0 | Above ground |  |  |  | 8 | 30 | 120 |  | 0.45662 | 33 | 25 | Taungoo |  | MoEE/MOALI | Myanmar | Sole Investment | 30 | 30 | 100% | 0 |  |  | 2008
38 | Keng Tawng | Built | E | 20.5983 | 98.293 | Shan | Linkhe | Moenane |  | Thanlwin | Nam Teng | Nam Teng | Nam Teng | HP |  | 8450 |  | 1475 | 164.775 | 5196.3444 | 19.5 | 22.03% | CG | 27.4 |  |  |  | 0.08 | 0.87 | 8.76 | 51.9 | 60.66 | 3.6455 | S | 2.2 | Above ground | 50.96 | 4.2116 | 130.14 |  | 54 | 377.6 | 43.11 | 0.79824 | 132 | 118.95 | Namsan |  | MoEE | Myanmar | Sole Investment | 54 | 54 | 100% | 0 |  |  | 2009
39 | Keng Tawng (upper) | Construction | C | 20.7456 | 98.1841 | Shan | Linkhe | Keng Tawng |  | Thanlwin | Nam Teng | Nam Teng | Nam Teng | HP |  | 7510 |  | 1475 | 146.445 | 4618.2895 | 19.5 | 22.74% | Rockfill | 56 |  |  |  | 23.25 |  | 18.5 | 109.78 | 128.28 | 8.6763 | S | 0 | Semi underground | 154.44 | 4.6378 | 37.8226 | 3 | 51 | 231 |  | 0.51706 | 132 | 73 | Namsan |  | MoEE | Myanmar | Sole Investment | 51 | 51 | 100% | 0 |  |  |  | 2019
40 | Keng Tong | MOU | P | 21.6178 | 99.501 | Shan | Mongkhak |  |  | Mekong | Nam Lwe | Nam Lwe | Nam Lwe | HP |  | 4543 |  | 1381 | 111 | 3500.496 | 24.4332 | 19.73% | [5 empty] | 8.4 | 26 | 20.72 | 11.68 | 32.4 | 1.2179 | RoR | 0 |  |  |  |  | 3 | 170 | 536 |  | 0.35992 |  |  |  |  | YNIC | PRC | Foreign JV/BOT | 170 | 85 | 50% | 85 | <-PRC? | 700 |  | 2025 | 43.8 | 33.3 | 25.3 | 21.9 | 33.7 | 88.2 | 234 | 318 | 219 | 141 | 99 | 62.3
41 | Keng Yang | MOU | P | 21.3469 | 100.5619 | Shan | He Kou |  |  | Mekong | Nam Lwe | Nam Lwe | Nam Lwe | HP |  | 14260 |  | 1381 | 340 | 10722.24 | 23.8429 | 19.82% | [5 empty] | 5.4 | 24 | 32.58 | 7.94 | 40.52 | 0.27029 | RoR | 0 | [5 empty] | 70 | 155 |  | 0.25277 |  |  |  |  | YNIC | PRC | Foreign JV/BOT | 70 | 35 | 50% | 35 | <-PRC? | 300 |  | 2025 | 134 | 102 | 77.9 | 67.4 | 104 | 271 | 719 | 975 | 672 | 432 | 304 | 192
44 | Khaunglanphu | MOA | P | 26.8495 | 98.3768 | Kachin | Puta-O | Kanglanphu |  | Ayeyarwady | Ayeyarwady Headwaters | Nmae Hka | N'Mai Hka | HP |  | 14655 |  | 1540 | 1500 | 47304 | 102.3541 | 11.33% | CFRD | 223.1 | 875 | 825 | 50 | 32.9 | 85 | 1574 | 1526 | 3100 | 11.7747 | S | 0 | Underground | 1610.6587 | 9.4745 | 192 |  | 2700 | 14730 |  | 0.62278 |  |  |  |  | CPI | PRC | Foreign JV/BOT | 2700 |  |  |  | PRC | 9100 |  | 2030
45 | Kinda | Built | E | 21.1604 | 96.321 | Shan | Taunggyi | Kyaukse | Kanzwe | Ayeyarwady | Myitnge | Zawgyi/Myogyi | Panlaung Chaung | Multi | 16.8 | 2240 |  |  | 34.7 | 1094.2992 | 15.4911 | 19.6% | Rockfill | 71.9 | 193 |  |  | 28.57 | 14.45 | 206.98 | 870.58 | 1077.56 | 290.3792 | S | 0 | Above ground |  |  |  |  | 56 | 165 |  | 0.33635 | 132 | 73+47 | Ingone,Thazi |  | MoEE | Myanmar | Sole Investment | 56 | 56 | 100% | 0 |  |  | 1990
47 | Kun Chaung | Built | E | 18.4204 | 96.3639 | Bago | Bago | Pyu |  | Sittaung | Other Sittaung | Other Sittaung | Kun Chaung | Multi |  | 855 |  | 2081 | 34.9 | 1100.6064 | 40.8187 | 8.596% | Earth/Rock | 73.2 | 190 |  |  | 150 | 23 | 333.05 | 1134.82 | 1467.87 | 376.3464 | S | 2.5 | Above ground |  |  |  |  | 60 | 190 | 17.5 | 0.36149 | 230 | 41 | Chauk |  | MoEE | Myanmar | Sole Investment | 60 | 60 | 100% | 0 |  |  | 2012
48 | KunLong | JVA | P | 23.5317 | 98.6111 | Shan | Kunlong | Kunlong | Huli | Thanlwin | Thanlwin Mainstem | Upper Thanlwin | Thanlwin Mainstem | HP |  | 128989 |  |  | 1910 | 60233.76 | 14.8075 | 26.75% | CG | 103 | 519 | 511 | 8 | 65.4 | 55 | 483 | 208 | 691 | 1.2604 | RoR | 0 | At dam toe | 620.32 | 6.0697 | 54 |  | 1400 | 7142 |  | 0.58235 | 230 | 68 | Theinni |  | Hanergy YN, MPC | PRC/MYA | Foreign JV/BOT | 1400 | 700 | 50% | 700 | PRC | 5200 |  | 2023 | 518 | 511 | 673 | 1050 | 1680 | 3330 | 4280 | 3890 | 3130 | 1980 | 1030 | 658
49 | Kyee Ohn Kyee Wa | Built | E | 20.331 | 94.416 | Magway | Minbu | Sidoktaya |  | Ayeyarwady | Mone Chaung | Mone Chaung | Mon Chaung | Multi | 9.4 | 5100 |  | 1694 | 126.9 | 4001.9184 | 24.8824 | 9.614% | Earth | 50 | 120 |  |  | 32.8 | 29.8 | 0 | 571.11 | 571.11 | 52.0888 | S | 0 | Above ground |  |  |  | 5 | 74 | 370 | 42 | 0.57078 | 132 | 70 | Mann |  | MOALI | Myanmar | Sole Investment | 74 | 74 | 100% | 0 |  |  | 2012
51 | Lawngdin | MOA | P | 26.043 | 98.2777 | Kachin | Myitkyina | Tsawlaw | Tsawlaw | Ayeyarwady | Ayeyarwady Headwaters | Naw Chang Hka | Naw Chang Hka | HP |  | 2080 | 3124 | 1540 | 154 | 4856.544 | 74.0385 | 32.53% |  | 78.9 |  |  |  | 12.39 | 10.7 | 27.2 | 39.7 | 66.9 | 2.9837 | RoR | 0 |  |  |  |  | 2 | 600 | 2401 |  | 0.45681 | 230 | 16 | Tongxinqiao |  | YEIG/IGOEC | PRC/MYA | Foreign JV/BOT | 600 | 300 | 50% | 300 | <-PRC? | 2400 |  | 2026 | 56.7 | 51.7 | 50.5 | 50.1 | 85 | 238 | 387 | 314 | 232 | 191 | 114 | 74.5
52 | Lemro 1 | MOU | P | 20.8574 | 93.3505 | Chin | Mindat |  |  | Rakhine | Lemro | Lemro | Le Mro | HP |  | 6535 | 3560 | 2750 | 404 | 12740.544 | 61.821 | #N/A | [5 empty] | 36 |  | 1520 | 7609 | 9129 | 217.9879 | S | 0 | [5 empty] | 600 | 3576 |  | 0.68037 |  |  |  |  | Tractabel | France | Foreign JV/BOT | 600 | 600 | 100% | 0 |  | 2400 | bar: Monthly Mean Flows (m3/s) according to MoEE Jan to Monthly Mean Flows (m3/s) according to MoEE Dec
53 | Laza | JVA | P | 26.4918 | 97.7769 | Kachin | Puta-O | Sumprabum | Sumprabum | Ayeyarwady | Ayeyarwady Headwaters | Mali Hka | Mali Hka | HP |  | 15291 | 3000 | 2524 | 1890 | 59603.04 | 123.6021 | 22.12% | CFRD | 196 | 370 | 340 | 30 | 245.54 | 115 | 6080 | 5700 | 11780 | 34.9059 | S | 0 |  | 1844.2194 | 4.412 | 118 | 5 | 1900 | 14720 |  | 0.8844 |  |  |  |  | CPIYN | PRC | Foreign JV/BOT | 1900 | 950 | 50% | 950 |  | 6800 |  | 2025 | 418 | 447 | 660 | 1010 | 1400 | 3150 | 4490 | 3570 | 2950 | 2010 | 841 | 519
54 | Lemro 2 | MOU | P | 20.7403 | 93.2687 | Rakhine | Mrauk Oo | Mrauk Oo |  | Rakhine | Lemro | Lemro | Le Mro | HP |  | 8355 | 3335 | 2750 | 530 | 16714.08 | 63.4351 | #N/A | [5 empty] | 193 |  | 4 |  |  |  | ROR | 0 | [5 empty] | 90 | 273 |  | 0.34627 |  |  |  |  | Tractabel | France | Foreign JV/BOT | 90 | 90 | 100% | 0 |  | 400 | bar: Monthly Mean Flows (m3/s) according to MoEE Jan to Monthly Mean Flows (m3/s) according to MoEE Dec
55 | Nam Pawn (lower) | MOU | P | 19.555 | 97.4086 | Kayah | Loikaw |  |  | Thanlwin | Nam Pawn | Nam Pawn | Nam Pawn | HP |  | 7860 | 1100 | 1446 | 155.6 | 4907.0016 | 19.7964 | 19.15% |  | 88 | 292 | 285 | 7 |  | 36 |  |  | 526 |  |  | 0 | At dam toe | 260 | 8.7248 |  |  | 105 | 618 |  | 0.67189 |  |  |  |  | TEI/HCTC | SIN/MYA | Foreign JV/BOT | 105 | 105 | 100% | 0 |  | 400 |  | 2020
57 | Mong Ton | MOU | P | 20.4564 | 98.65 | Shan | Monghsat | Mongtong |  | Thanlwin | Thanlwin Mainstem | Middle Thanlwin | Thanlwin Mainstem | HP |  | 183265 |  | 1406 | 2776 | 87543.936 | 15.1475 | 32.06% |  | 241 | 395 |  |  | 870 | 380 | 2400.64 | 37399.36 | 39800 | 155.9305 | S | 0 | [5 empty] | 7000 | 34700 |  | 0.56588 |  |  |  |  | Three Gorges+EGAT | PRC/Thailand | Foreign JV/BOT | 7000 | 700 | 10% | 6300 | Thailand | 14500 |  | 2030 | 1030 | 890 | 930 | 1250 | 1890 | 3660 | 5610 | 6290 | 5550 | 3720 | 2280 | 1400
58 | Manipur | MOU | P | 22.8044 | 93.9432 | Chin | Falam | Kalay |  | Chindwin | Manipur | Manipur | Manipura | HP |  | 11549 | 1500 | 1803 | 193 | 6086.448 | 16.7114 | 33.52% |  | 167.9 |  |  |  |  | 45 | 769 | 874 | 1643 | 52.4132 | S | 0 | [5 empty] | 380 | 1903 |  | 0.57168 | 230 | 32 | GaNaw-Kalay In/out |  | CHEC/Sein | PRC/MYA | Foreign JV/BOT | 380 | 380 | 100% | 0 |  | 1500 |  | 2020 | 79.4 | 72.2 | 64.7 | 73.5 | 113 | 213 | 379 | 412 | 386 | 278 | 150 | 88.4
59 | Mantong | MOA | P | 22.9747 | 98.5573 | Shan | Hopang | Minemaw |  | Thanlwin | Nam Ma | Nam Ma | Nam Ma | HP |  | 3936 | 1629.7 |  | 78.3 | 2469.2688 | 19.8933 | 78.43% | CFRD | 109.1 | 492 | 477 | 15 | 10.46 | 86 | 717 | 498 | 1215 | 73.6129 | S | 0 | River-bank | 282 | 9.1262 | 86 | 3 | 225 | 936 | 63.4 | 0.47489 | 500 | 105 | Theinni |  | HydroChina/IGOEC | PRC/MYA | Foreign JV/BOT | 225 | 112.5 | 50% | 112.5 | PRC | 900 |  | 2024 | 70.7 | 56.3 | 40.6 | 30.9 | 39.8 | 95 | 236 | 311 | 255 | 219 | 159 | 95.6
62 | Mone Chaung | Built | E | 20.4799 | 94.2553 | Magway | Minbu | Setoktaya | Aukpone | Ayeyarwady | Mone Chaung | Mone Chaung | Mon Chaung | Multi |  | 3695 |  | 1694 | 97.3 | 3068.4528 | 26.3329 | 9.764% | Rockfill | 61 | 167 |  |  | 41.5 | 19.37 | 189.96 | 641.92 | 831.88 | 76.358 | S | 0 | Above ground |  |  |  |  | 75 | 330 | 37.67 | 0.50228 | 132 | 160 | Chauk |  | MoEE/MOALI | Myanmar | Sole Investment | 75 | 75 | 100% | 0 |  |  | 2004
63 | Mongwa | Built | E | 21.397 | 100.3258 | Shan | Mong Yawng | KengTung | Manlane | Mekong | Nam Lwe | Nam Lwe | Nam Lwe | HP |  | 13800 | 1534.7 | 1381 | 285 | 8987.76 | 20.6522 | 19.33% | Gravity Dam | 51 | 555 | 552 | 3 | 8.01 | 30.5 | 55.67 | 22.09 | 77.76 | 0.89709 | RoR | 0 | Riverbed type | 294 | 5.3358 | 25.7121 |  | 66 | 330.45 |  | 0.57155 |  |  |  |  | ESDC | Myanmar | Local BOT | 66 | 66 | 100% | 0 |  |  | 2017 |  | 109 | 83.9 | 64 | 55.1 | 89 | 235 | 625 | 828 | 557 | 358 | 256 | 161
64 | Myitsone | JVA | P | 25.715 | 97.535 | Kachin | Myitkyina | Myitkyina |  | Ayeyarwady | Ayeyarwady | Upper Ayeyarwady Mainstem | Ayeyarwady | HP |  | 48782 | 3234 |  | 5040 | 158941.44 | 103.3168 | 12.08% | CFRD | 139.5 | 245 | 230 | 15 | 397 | 140 | 8687 | 4503 | 13190 | 10.3409 | S | 0 | Above ground | 7158.4831 | 11.7545 | 96 |  | 6000 | 31290 | 1244 | 0.59532 |  |  |  |  | CPIYN/AWC | PRC/MYA | Foreign JV/BOT | 6000 | 600 | 10% | 5400 | PRC | 14200
65 | Myittha | Built | E | 21.9922 | 94.0369 | Magway | GaNaw | GaNaw |  | Chindwin | Myittha | Myittha | Myittha | Multi |  | 1813 |  | 1542 | 43.9 | 1384.4304 | 24.214 | 3.645% | Earth | 62.5 |  |  |  | 12.195 |  | 152.93 | 172.37 | 325.3 | 45.4447 | S | 0 |  | 38.43 | 24.0187 | 52.9 | 3 | 40 | 170 |  | 0.48516 | 66 | 40 | GaNaw |  | MOALI | Myanmar | Sole Investment | 40 | 40 | 100% | 0 |  |  | 2017
66 | Myogyi | Built | E | 21.4635 | 96.3914 | Shan | Taunggyi | Ywa Ngan |  | Ayeyarwady | Myitnge | Zawgyi/Myogyi | Zawgyi River | Multi | 8.9 | 3873 |  | 1185 | 70.9 | 2235.9024 | 18.3062 | 15.94% |  | 78.6 | 193 |  |  | 9.67 | 10.7 | 169.95 | 273.55 | 443.5 | 44.6557 | S | 0 | Above ground |  |  |  | 8 | 30 | 135.7 | 15.5 | 0.51636 | 33 | 16 | Taungtawgwin |  | MOALI | Myanmar | Sole Investment | 30 | 30 | 100% | 0 |  |  | 2015
67 | Nam Hka | MOU | P | 21.7338 | 98.95 | Shan | Hopang | Mong Sat |  | Thanlwin | Nam Hka | Nam Hka | Nam Hka | HP |  | 7827 | 1377.9 | 1356 | 165 | 5203.44 | 21.0809 | 67.82% |  | 120.1 | 483 | 460 | 23 | 75.1465 | 80 | 183.72 | 266 | 449.72 | 18.6588 | S | 0 |  |  |  |  | 2 | 210 | 937 |  | 0.50935 |  |  |  |  | YNIC | PRC | Foreign JV/BOT | 210 | 105 | 50% | 105 |  | 900 |  | 2025 | 100 | 78.9 | 62 | 53.1 | 63 | 172 | 526 | 676 | 456 | 313 | 212 | 137
68 | Nam Hsim | MOU | P | 22.5603 | 97.1241 | Shan | Hsipaw |  |  | Ayeyarwady | Myitnge | Upper Myitnge | Myitnge Upper | HP |  | 1368 |  | 1628 | 35.4 | 1116.3744 | 25.8772 | 19.21% | [12 empty] | 0 |  |  |  |  | 2 | 30 | [7 empty] | PCR/SE | PRC/MYA | Foreign JV/BOT | 30 | 30 | 100% | 0 |  | 100 |  | 2020
70 | Nam Lang | MOU | P | 22.1556 | 97.2486 | Shan | Hsipaw |  |  | Ayeyarwady | Myitnge | Upper Myitnge | Myitnge Upper | HP |  | 6664 | 1150 | 1628 | 143 | 4509.648 | 21.4586 | 16.64% | [12 empty] | 0 | [5 empty] | 210 | [7 empty] | PCR/SE | PRC/MYA | Foreign JV/BOT | 210 | 210 | 100% | 0 |  | 900 |  | 2020
71 | Nam Li | MOU | P | 25.3699 | 97.8114 | Kachin | Myitkyina | Wyunmaw | Sadon(Twn) | Ayeyarwady | Ayeyarwady Headwaters | Nmae Hka | N'Mai Hka Tributary | HP |  | 418 | 2913 |  | 26.7 | 842.0112 | 63.8756 | 28.5% | CG | 43.5 | 590 | 577.3 | 12.7 |  | 1 | 0.34 | 1.19 | 1.53 | 0.51585 | RoR | 15 |  | 33.06 | 4.3443 | 322 |  | 165 | 472.75 | 19.13 | 0.32707 |  |  |  |  | YBEP/Chan Yinn Khuu | PRC/MYA | Foreign JV/BOT | 165 | 165 | 100% | 0 |  | 700 |  | 2020 | 11.5 | 8.87 | 7.61 | 10.4 | 17.4 | 49.1 | 72.5 | 47.2 | 33.5 | 27.8 | 15.8 | 12.3
72 | Nam Lin | LocMoU | P | 20.7425 | 100.241 | Shan | Tachileik | Tachileik |  | Mekong | Nam Lin | Nam Lin | Nam Lin | HP |  | 2614 | 2964 | 1408 | 46.1 | 1453.8096 | 17.6358 | 12.45% | CG | 26 | 396.75 |  |  |  |  | 2.38 | 11.59 | 13.97 | 2.9098 | RoR | 0 | Riverbed | 304.48 | 53.0453 | 13.5 |  | 36 | 156 | 15.3 | 0.49467 | 132 | 48 | Tacheleik |  | MAM | Myanmar | Local BOT | 36 | 36 | 100% | 0 |  | 100 |  | 2021 | 8.76 | 6.63 | 5.74 | 7.87 | 13.23 | 36.93 | 60.37 | 29.88 | 25.23 | 21.08 | 11.93 | 9.33
73 | Nam Paw | Covenant | P | 23.9443 | 97.911 | Shan | Muse | Muse | Selan | Ayeyarwady | Shweli | Shweli | Nam Paw Creek | HP |  | 1025 | 1418 | 1533 | 32.6 | 1028.0736 | 31.8049 | 17.7% |  | 54 | 805 | 795 | 10 |  | 1.3 | 20.55 | 31.16 | 51.71 | 11.0628 | S | 0 | At dam toe | 59.37 | 10.2894 | 38.75 | 2 | 20 | 83.3 | 2.72 | 0.47546 |  |  |  |  | Great Hor Kham | Myanmar | Local BOT | 20 | 20 | 100% | 0 |  | 100 |  | 2019 | 14.1 | 11.6 | 8.28 | 5.77 | 7.94 | 33.5 | 74.4 | 86.1 | 57.5 | 42.5 | 28.4 | 18.8
77 | Nam Pawn (upper) | MOU | P | 20.0621 | 97.4374 | Shan | Hpi Hseng |  |  | Thanlwin | Nam Pawn | Nam Pawn | Nam Pawn | HP |  | 3352 | 1100 | 1446 | 66.4 | 2093.9904 | 19.8091 | 21.08% |  | 10 | 570 |  |  |  | 0.2 |  |  | 7 |  |  | 17.8 |  | 65 | 4.6429 |  | 4 | 150 | 782 |  | 0.59513 |  |  |  |  | TEI/HCTC | SIN/MYA | Foreign JV/BOT | 150 | 150 | 100% | 0 |  | 600 |  | 2020
82 | Nam Tabak I | MOA | P | 25.0907 | 97.7139 | Kachin | Myitkyina | Waingmaw | Waingmaw | Ayeyarwady | Namtabak | Namtabak | Namtamhpak | HP |  | 1121 | 2500 | 1910 | 79.4 | 2503.9584 | 70.8296 | 7.053% | CG | 56 | 316 | 302 | 14 | 2.197 | 0.6 | 14.17 | 0.34 | 14.51 | 0.049562 | RoR | 6 | Above ground | 112.5 | 19.3339 | 144 | 3 | 141 | 684 | 27.724 | 0.54224 |  |  |  |  | China Guodian/Tun Thwin Mining) | PRC/MYA | Foreign JV/BOT | 141 |  |  |  | <-PRC? | 600 |  | 2027 | 37.8 | 35.5 | 27.3 | 23.3 | 23.2 | 55.3 | 156 | 256 | 125 | 106.6 | 88.5 | 60
83 | Nam Tu | LocMoU | P | 22.7209 | 97.3194 | Shan | Kyaukme | Hsipaw |  | Ayeyarwady | Myitnge | Upper Myitnge | Myitnge Upper | HP |  | 6832 |  | 1628 | 129.6 | 4087.0656 | 18.9696 | 21.3% | CG | 114 | 492 | 478.6 | 13.4 |  | 4 |  |  |  | 0 |  |  |  | 112.9 | 4.0906 | 85 |  | 100 | 635 | 47.35 | 0.72489 |  |  |  |  | NCEH | Myanmar | Local BOT | 100 | 100 | 100% | 0 |  | 400 |  | 2021
86 | Nancho | Built | E | 19.7412 | 96.4505 | Naypyitaw | Det Khi Na | Pyinmana |  | Sittaung | Paung Laung | Paung Laung | Sin The Chaung | HP |  | 821 | 1650 | 1269 | 18.3 | 577.1088 | 22.2899 | 17.49% |  | 72 | 295 |  |  | 0.31 | 3 | 5.3 | 3.7 | 9 | 2.3401 | RoR | 5.24 | Above ground | 45.8143 | 14.317 | 100 |  | 40 | 152 | 12.6 | 0.43379 | 230 | 26.52+12.5 | Upper Paunglaung |  | MoEE | Myanmar | Sole Investment | 40 | 40 | 100% | 0 |  |  | 2013
92 | Naopha | MOA | P | 22.9875 | 98.4992 | Shan | Lashio | Tangyan |  | Thanlwin | Thanlwin Mainstem | Upper Thanlwin | Thanlwin Mainstem | HP |  | 141127 |  |  | 2250 | 70956 | 15.9431 | 27.02% | RCC Gravity Dam | 90 | 445 | 440 | 5 | 23.766 | 110 | 580 | 277 | 857 | 1.4249 | RoR | 0 |  |  |  |  | 3 | 1200 | 6182 |  | 0.58809 |  |  |  |  | HydroChina/IGOEC | PRC/MYA | Foreign JV/BOT | 1200 | 600 | 50% | 600 | PRC | 4600 |  | 2026 | 616 | 608 | 795 | 1240 | 1990 | 3910 | 5030 | 4600 | 3730 | 2350 | 1240 | 785
96 | Paung Laung (lower) | Built | E | 19.785 | 96.335 | Naypyitaw | Det Khi Na | Pyinmana | Zayyarthiri | Sittaung | Paung Laung | Paung Laung | Paung Laung Chaung | Multi | 14 | 4381 | 1650 | 1269 | 128 | 4036.608 | 29.2171 | 13.91% | RCC | 131.1 | 225 |  |  | 17 | 16 | 340 | 350 | 690 | 31.6479 | S | 0 |  | 309.556 | 17.3908 | 103.6 | 3 | 280 | 911 | 104 | 0.37141 | 230 | 13 | Pyinmana |  | MoEE/MOALI | Myanmar | Sole Investment | 280 | 280 | 100% | 0 |  |  | 2005
97 | Paung Laung (middle) | MOU | P | 19.86 | 96.508 | Mandalay | Nay Pyi Taw | Pyinmana |  | Sittaung | Paung Laung | Paung Laung | Paung Laung Chaung | HP |  | 2722 | 1800 | 1269 | 84.6 | 2667.9456 | 31.0801 | 14.54% | RCC | 110 | 283.5 |  |  | 9.609 | 10 | 215.19 | 213.73 | 428.92 | 29.2403 | S | 0 |  | 100 | 8.1301 | 85.3 | 3 | 100 | 342 | 39 | 0.39041 | 230 | 8 | Bluchaung2-Shwemyo In/out |  | Energized Myanmar | SIN | Foreign JV/BOT | 100 | 100 | 100% | 0 |  | 400 |  | 2021
98 | Paung Laung (upper) | Built | E | 19.756 | 96.598 | Mandalay | Nay Pyi Taw | Pyinmana |  | Sittaung | Paung Laung | Paung Laung | Paung Laung Chaung | HP |  | 2572 | 1710 | 1269 | 82.4 | 2598.5664 | 32.0373 | 13.96% | RCC | 98.1 | 370 | 352 | 18 | 61 | 50 | 426 | 860 | 1286 | 120.7974 | S | 0 | Above ground | 200 | 17.3913 | 79 |  | 140 | 454 | 84 | 0.37019 | 230 | 27 | Nancho |  | MoEE | Myanmar | Sole Investment | 140 | 140 | 100% | 0 |  |  | 2015
99 | Hpak Nam | MOU | P | 20.2093 | 97.4562 | Shan | Hpi Hseng |  |  | Thanlwin | Nam Pawn | Nam Pawn | Nam Pawn | HP |  | 3151 | 1100 | 1446 | 62 | 1955.232 | 19.6763 | 21.45% |  | 20 | 900 |  |  |  | 1 |  |  | 20 |  |  | 10.3 | Underground | 65 | 4.8872 |  |  | 105 | 557 |  | 0.60557 |  |  |  |  | TEI/HCTC | SIN/MYA | Foreign JV/BOT | 105 | 105 | 100% | 0 |  | 400 |  | 2020
100 | Hpi Hseng | MOU | P | 20.1184 | 97.435 | Shan | Hpi Hseng |  |  | Thanlwin | Nam Pawn | Nam Pawn | Nam Pawn | HP |  | 3265 | 1100 | 1446 | 64.6 | 2037.2256 | 19.7856 | 21.36% |  | 10 | 665 |  |  |  | 1 |  |  | 4.3 |  |  | 6 |  | 65 | 4.7101 |  | 4 | 45 | 265 |  | 0.67225 |  |  |  |  | TEI/HCTC | SIN/MYA | Foreign JV/BOT | 45 | 45 | 100% | 0 |  | 200 |  | 2020
101 | Phyu Chaung | Built | E | 18.5062 | 96.351 | Bago | Taungoo | Phyu |  | Sittaung | Other Sittaung | Other Sittaung | Pyu Chaung | Multi | 4 | 1093 | 2540 | 2081 | 36.2 | 1141.6032 | 33.1199 | 9.945% | Rockfill | 74.7 | 162 |  |  | 24 | 27 | 52.35 | 727.22 | 779.57 | 232.511 | S | 0 | Above ground |  |  |  | 2 | 40 | 120 | 28.4 | 0.34247 | 230 | 8 | Taungoo-Tharyargone In/out |  | MoEE/MOALI | Myanmar | Sole Investment | 40 | 40 | 100% | 0 |  |  | 2015
103 | Renan | MOA | P | 27.5259 | 98.0902 | Kachin | Puta-O | Khawbude |  | Ayeyarwady | Ayeyarwady Headwaters | Nmae Hka | N'Mai Hka | HP |  | 11123 |  | 1540 | 1070 | 33743.52 | 96.1971 | 10.49% | CFRD | 159 | 1010 | 980 | 30 | 9.17 | 56 | 605 | 578 | 1183 | 6.2522 | S | 0 | Ground | 1082.2274 | 16.0759 | 127 | 2 | 1200 | 7330 |  | 0.6973 |  |  |  |  | CPI | PRC | Foreign JV/BOT | 1200 |  |  |  | PRC | 4600 |  | 2030
105 | Sedawgyi | Built | E | 22.3486 | 96.3269 | Mandalay | Pyinoolwin | Mandalay |  | Ayeyarwady | Ma Gyi Chaung | Ma Gyi Chaung | Ma Gyi Chaung | Multi | 3.8 | 3424 |  | 1802 | 131.6 | 4150.1376 | 38.4346 | 15.35% | Rockfill | 40.5 | 129 |  |  | 40.45 | 16.1 | 103.6 | 343.98 | 447.58 | 30.2527 | S | 0 | Above ground |  |  |  |  | 25 | 134 | 20 | 0.61187 | 132 | 212 | Kyaukpahto |  | MoEE | Myanmar | Sole Investment | 25 | 25 | 100% | 0 |  |  | 1989
106 | Sedawgyi (upper) | GOM Plan | P | 22.7476 | 96.2063 | Shan | Kyaukme | Mandalay |  | Ayeyarwady | Ma Gyi Chaung | Ma Gyi Chaung | Ma Gyi Chaung | Multi |  | 2640 | 889 | 1802 | 101 | 3185.136 | 38.2576 | 15.64% |  | 73.2 |  |  |  | 24 |  | 112 | 481 | 593 | 55.1201 | S | 0 |  |  |  |  | 3 | 64 |  |  | - | 132 | 212+48 | Kyaukpahto/Aungpinle |  | MOALI | Myanmar | Sole Investment | 64 | 64 | 100% | 0 |  | 300 | bar: Monthly Mean Flows (m3/s) according to MoEE Jan to Monthly Mean Flows (m3/s) according to MoEE Dec
107 | Shwegyin | Built | E | 17.9702 | 96.935 | Bago | Bago | Shwegyin |  | Sittaung | Other Sittaung | Other Sittaung | Shwegyin River | HP |  | 878 | 3700 | 2081 | 39.3 | 1239.3648 | 44.7608 | 10.18% | Rockfill | 56.5 | 84 |  |  | 58.4 | 35 | 630 | 1450 | 2080 | 427.0333 | S | 0 | Above ground | 207.4923 | 51.8731 | 41.4 |  | 75 | 262 | 50.6 | 0.39878 | 230 | 41 | Tharyargone |  | MoEE | Myanmar | Sole Investment | 75 | 75 | 100% | 0 |  |  | 2011 |  | 4 | - | - | - | 15 | 45 | 276 | 464 | 167 | 151 | 35 | -
108 | Shweli 1 | Built | E | 23.698 | 97.506 | Shan | Muse | Manthet Village | Nam Hkan | Ayeyarwady | Shweli | Shweli | Shweli | HP |  | 12597 | 1418 | 1533 | 400 | 12614.4 | 31.7536 | 28.5% | CG | 47 | 745 |  |  | 1.1 | 10.5 | [5 empty] | 9.52 | Above ground | 229.8376 | 2.0161 | 299 |  | 600 | 4022 | 174.8 | 0.76522 | 230 | 96 | Mansan |  | YUPD | PRC | Foreign JV/BOT | 600 | 400 | 66.67% | 200 | PRC |  | 2009
109 | Shweli 2 | MOA | P | 23.6531 | 97.3123 | Shan | Muse | Namkham |  | Ayeyarwady | Shweli | Shweli | Shweli | HP |  | 13265 | 1417.6 | 1533 | 405.1836 | 12777.8688 | 30.5453 | 25.17% | CFRD | 91.7 | 395 | 375 | 20 | 27.855 | 20 | 30 | 42 | 72 | 1.1997 | RoR | 0 | Bankside | 526 | 5.1569 | 110 |  | 520 | 2814 | 138.2 | 0.61776 | 230 | 70 | Shweli3 |  | HIE/AWC | PRC/MYA | Foreign JV/BOT | 520 | 260 | 50% | 260 | PRC | 2100 |  | 2021 | 168 | 144 | 124 | 102 | 149 | 471 | 886 | 926 | 688 | 596 | 362 | 221
110 | Shweli 3 | Construction | C | 23.315 | 96.769 | Shan | Kyaukme | Namkham |  | Ayeyarwady | Shweli | Shweli | Shweli | HP |  | 14810 | 1418 | 1533 | 452 | 14254.272 | 30.5199 | 25.22% | RCC | 122 | 235 | 195 | 40 | 118 | 65 | 1854 | 3610 | 5464 | 92.439 | S | 0 | Above ground | 1200 | 10.5263 | 88 | 6 | 1050 | 3400 | 532 | 0.36965 | 500 | 420 | Meikhtila |  | EDF SA | France | Foreign JV/BOT | 1050 | 1050 | 100% | 0 |  |  |  | 2020 | 188 | 161 | 138 | 114 | 166 | 526 | 989 | 1034 | 768 | 665 | 404 | 247
112 | Suo Lwe | MOU | P | 21.3595 | 100.1761 | Shan | Monghpyak | Moemeik |  | Mekong | Nam Lwe | Nam Lwe | Nam Lwe | HP |  | 7315 |  | 1381 | 178 | 5613.408 | 24.3336 | 19.83% |  | 0 |  |  |  | 40.89 | 72 | 624 | 714 | 1338 | 46.4263 | S | [5 empty] | 4 | 240 |  |  | - |  |  |  |  | YNIC | PRC | Foreign JV/BOT | 240 | 120 | 50% | 120 | ? | 1000 |  | 2025 | 70.4 | 53.5 | 40.8 | 35.3 | 54.3 | 142 | 377 | 511 | 352 | 226 | 159 | 100
113 | Taninthayi | Suspended | P | 12.777 | 98.94 | Tanintharyi | Tenasserim | Tanintharyi |  | Tanintharyi | Tanintharyi | Tanintharyi | Taninthayi | HP |  | 9870 | 2930 | 2123 | 470 | 14821.92 | 47.619 | 11.66% |  | 0 |  |  |  | 585 |  | 18471 | 8615 | 27086 | 212.1503 | S | 0 |  |  |  |  | 4 | 600 | 3476 |  | 0.66134 | 230 | 32 | Dawei |  | Italian-Thai | Thailand | Foreign JV/BOT | 600 |  |  |  |  | 2400
116 | Thahtay | Construction | C | 18.64 | 94.381 | Rakhine | Thandwe | Thandwe |  | Rakhine | Thahtay | Thahtay | Thahtay | HP |  | 1293 |  | 2545 |  | 0 |  |  | Zone type/Rockfill | 90.83 | 80.77 | 50 | 30.77 |  | 32 |  |  |  |  | - | 0 | Semi-Underground | 199.8344 | - | 63.62 |  | 111 | 386 | 34 | 0.39697 | 230 | 8.5 | Oakshitpin-Toungup In/out |  | MoEE | Myanmar | Sole Investment | 111 | 111 | 100% | 0 |  |  |  | 2020
118 | Thapanzeik | Built | E | 23.3059 | 95.3583 | Sagaing | Shwebo | Kyun Hla | Ngapyawtine | Ayeyarwady | Mu | Mu | Mu River | Multi | 11.5 | 9338 |  | 1260 | 209 | 6591.024 | 22.3817 | 9.474% | Earth | 32.9 | 159 |  |  | 397.05 | 42.8 | 480.82 | 3071.66 | 3552.48 | 170.1034 | S | 0 | Above ground |  |  |  |  | 30 | 117.2 | 13.38 | 0.44597 | 132 | 53 | Ngapyadaing |  | MoEE/MOALI | Myanmar | Sole Investment | 30 | 30 | 100% | 0 |  |  | 2002
120 | Thauk Ye Khat 2 | Built | E | 18.9141 | 96.6199 | Kayin | Hpa-An | Tangoo |  | Sittaung | Other Sittaung | Other Sittaung | Thauk Ye Khat | HP |  | 2175 | 2692 | 2081 | 50.5 | 1592.568 | 23.2184 | 11.29% | Earth | 93.8 |  |  |  | 13.8 | 22 | 296.04 | 148.02 | 444.06 | 33.9246 | S | 0 | [5 empty] | 120 | 604 | 101 | 0.57458 | 230 | 23 | Taungoo |  | Gold Energy | Myanmar | Local BOT | 120 | 120 | 100% | 0 |  |  | 2014
121 | Tongxinqiao | JVA | P | 25.9636 | 98.3602 | Kachin | Myitkyina | Myitkyina | Tsawlaw | Ayeyarwady | Ayeyarwady Headwaters | Naw Chang Hka | Naw Chang Hka | HP |  | 1743 | 3268 | 1540 | 135.1493 | 4262.0688 | 77.5383 | 32.48% | CG | 63 | 1075 | 1060 | 15 | 8.84 | 4 | 1.63 | 3.51 | 5.14 | 0.30059 | RoR | 13 | Bankside | 145.8 | 3.3212 | 260 | 3 | 340 | 1695 | 60.73 | 0.5691 | 500 | 130 | Winemaw |  | YEIG/IGOEC | PRC/MYA | Foreign JV/BOT | 340 | 170 | 50% | 170 | <-PRC? | 1400 |  | 2026 | 49 | 44.7 | 44.2 | 43.9 | 74.7 | 209 | 339 | 275 | 203 | 167 | 99 | 65
125 | Wutsok | MOA | P | 26.4036 | 98.2925 | Kachin | Myitkyina | Myitkyina | Na Zun Baw | Ayeyarwady | Ayeyarwady Headwaters | Nmae Hka | N'Mai Hka | HP |  | 18225 |  | 1540 | 1910 | 60233.76 | 104.8011 | 10.68% | CFRD | 165 | 525 | 510 | 15 | 6.3 | 29 | 455 | 150 | 605 | 0.90896 | RoR | 0 |  | 1718.0359 | 8.4217 | 120 |  | 1800 | 13410 |  | 0.85046 |  |  |  |  | CPI | PRC | Foreign JV/BOT | 1800 |  |  |  | PRC | 6500 |  | 2030
127 | Yenwe | Built | E | 18.0852 | 96.4462 | Bago | Bago | Kyauktaga | Myoechaung | Sittaung | Other Sittaung | Other Sittaung | Ye Nwe Chaung | Multi | 12.35 | 793 |  | 2081 | 39.1 | 1233.0576 | 49.3064 | 7.417% | Earth | 76.5 | 103 |  |  | 76.74 | 36 | 149.38 |  | 149.38 | 0 | RoR | 0 | [5 empty] | 25 | 123 | 14.04 | 0.56164 | 33 | 27 | Tharyargone |  | MoEE/MOALI | Myanmar | Sole Investment | 25 | 25 | 100% | 0 |  |  | 2007
129 | Yeywa | Built | E | 21.6752 | 96.4741 | Mandalay | Pyinoolwin | Kyaukse | Ye Yaman | Ayeyarwady | Myitnge | Lower Myitnge | Lower Myitnge | HP |  | 28206 | 838 | 1600 | 483 | 15231.888 | 17.124 | 33.13% | RCC | 132 | 185 | 150 | 35 | 59 | 75 | 1000 | 1630 | 2630 | 39.0595 | S | 0 | Above ground | 840 | 5.25 | 91 | 2 | 790 | 3550 | 175 | 0.51298 | 230 | 38 + 118 | Belin, Meiktila |  | MoEE | Myanmar | Sole Investment | 790 | 790 | 100% | 0 |  |  | 2010 |  | 250 | 202 | 175 | 160 | 192 | 340 | 649 | 1098 | 1088 | 875 | 605 | 362
130 | Yeywa (middle) | MOU | P | 21.9602 | 96.8731 | Shan | Kyaukme | Nawng Khio | Yedwingyi | Ayeyarwady | Myitnge | Lower Myitnge | Lower Myitnge | HP |  | 25490 | 1300 | 1608 | 412 | 12992.832 | 16.1632 | 32.28% | RCC/Arch dam | 160 | 320 | 300 | 20 | 11 | 70 | 258 | 196 | 454 | 5.5061 | S | 0 | Underground | 592 | 4.4511 | 135 | 4 | 700 | 3253 |  | 0.5305 | TBD | TBD | 500kV Meilhtila S/S |  | SN Power | Norway | Foreign JV/BOT | 700 | 700 | 100% | 0 |  | 2800 |  | 2020 | 195 | 168 | 148 | 133 | 167 | 340 | 559 | 829 | 744 | 654 | 458 | 263
131 | Yeywa (upper) | Construction | C | 22.2541 | 97.0467 | Shan | Pyinoolwin | Kyautme |  | Ayeyarwady | Myitnge | Lower Myitnge | Lower Myitnge | HP |  | 21700 | 1270 | 1628 | 371 | 11699.856 | 17.0968 | 32.28% | RCC | 97 | 395 | 385 | 10 | 26.94 | 54 | 145.26 | 196.18 | 341.44 | 6.1202 | S | 0 | Above ground | 126.5 | 4.225 | 67 |  | 280 | 1409 |  | 0.57445 | 230 | 130 | Shwesaryan | 32 | MoEE | Myanmar | Sole Investment | 280 | 280 | 100% | 0 |  |  |  | 2019 | 84.462 | 72.7673 | 64.1045 | 57.6074 | 72.3342 | 147.2671 | 242.1245 | 359.0719 | 322.2551 | 283.2727 | 198.3775 | 113.9155
132 | Ywathit | MOA | P | 19.1311 | 97.5213 | Kayah | Bawlake | Ywathit | Bawlakhe | Thanlwin | Thanlwin Mainstem | Middle Thanlwin | Thanlwin Mainstem | HP |  | 208984 |  |  | 3400 | 107222.4 | 16.2692 | 32.94% | RCC Gravity Dam | 167 | 215 | 200 | 15 | 43.47 | 130 | 7427 | 3330 | 10757 | 11.3358 | S | 0 | Power House At Dam Toe | 5325.39 | 4.7548 | 98 | 4 | 4000 | 25519 |  | 0.72828 |  |  |  |  | CDOI/STH | PRC/MYA | Foreign JV/BOT | 4000 | 400 | 10% | 3600 | Thailand | 11900 |  | 2030 | 1340 | 1120 | 1120 | 1420 | 2050 | 3860 | 6260 | 7510 | 6590 | 4550 | 2960 | 1840
133 | Zaungtu | Built | E | 17.7558 | 96.199 | Bago | Bago | Bago |  | Myit Mo Hka & Bago | Bago | Bago | Bago River | HP |  | 1098 |  | 3151 | 57 | 1797.552 | 51.9126 | 7.018% | Embankment | 44.8 | 65 | 52 | 13 | 14.93 | 18.5 | 104.85 | 302.21 | 407.06 | 61.3649 | S | 0 |  |  |  |  | 4 | 20 | 76 | 8.68 | 0.43379 | 66 | 73 | Kamarnat |  | MoEE | Myanmar | Sole Investment | 20 | 20 | 100% | 0 |  |  | 2000
134 | Zawgyi I | Built | E | 21.3833 | 96.9015 | Shan | Taunggyi | Yaksauk |  | Ayeyarwady | Myitnge | Zawgyi/Myogyi | Zawgyi River | HP |  | 1406 |  | 1185 | 30 | 946.08 | 21.3371 | 16.33% |  | 0 | 833 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | RoR | 1.7 | Above ground |  |  |  | 4 | 18 | 35 | 4 | 0.22197 | 66 | 76 | Aungthapye |  | MoEE | Myanmar | Sole Investment | 18 | 18 | 100% | 0 |  |  | 1995
135 | Zawgyi II | Built | E | 21.5648 | 96.8726 | Shan | Taunggyi | Yaksauk |  | Ayeyarwady | Myitnge | Zawgyi/Myogyi | Zawgyi River | Multi |  | 1907 |  | 1185 | 42.8 | 1349.7408 | 22.4436 | 16.12% | Earth | 44 | 653 |  |  | 38.47 | 8.2 | 123.24 | 515.54 | 638.78 | 139.4135 | S | 0 | Above ground |  |  |  | 9 | 12 | 30 | 3.43 | 0.28539 | 66 | 23 | Zawgyi1 |  | MoEE/MOALI | Myanmar | Sole Investment | 12 | 12 | 100% | 0 |  |  | 2011
136 | Mali | Built | E | 24.9846 | 97.6135 | Kachin | Myitkyina | Waingmaw | Gau Dau Yang | Ayeyarwady | Mali Creek | Mali Creek | Mali Creek | HP |  | 290 |  | 1828 | 14.2 | 447.8112 | 48.9655 | 19.72% | [11 empty] | ROR | 5.7 | [5 empty] | 10.5 | 53.5 |  | 0.58165 |  |  |  |  | Buga Co. | Myanmar | Local BOT | 10.5 | 10.5 | 100% | 0 |  |  | 2006
136 | Nam Tabak II | MOA | P | 25.1198 | 97.6506 | Kachin | Myitkyina | Waingmaw | Waingmaw | Ayeyarwady | Namtabak | Namtabak | Namtamhpak | HP |  | 1289 | 2500 | 1910 | 80 | 2522.88 | 62.0636 | 19.75% | CG | 27 | 476 | 472 | 4 |  | 2.6 |  |  |  |  | ROR | 10 | Above ground | 108.27 | 7.1203 | 144.9 |  | 144 | 635 | 24.6 | 0.50339 |  |  |  |  | China Guodian/Tun Thwin Mining) | PRC/MYA | Foreign JV/BOT | 144 |  |  |  | <-PRC? | 600 |  | 2027
137 | Mong Hsat | LocMoU | P | 20.6622 | 99.375 | Shan | Mong Hsat |  |  | Mekong | Nam Hkoke | Nam Hkoke | Nam Hkoke | HP |  | 1284 |  | 1368 | 21.2 | 668.5632 | 13.4177 | 14.62% | [12 empty] | 0 | [5 empty] | 30 | [7 empty] | Suntac Power Co. | Myanmar | Local BOT | 30 | 30 |  | 30 |  | 100
148 | Tawog Hka | Identified | I | 26.3097 | 96.5299 | Kachin | Myitkyina |  | Nam Gawn | Chindwin | Chindwin Headwater 2 | Chindwin Headwater 2 | Nam Lanog Hka |  |  | 76 |  | 3018 | 6.6 | 208.1376 | 86.8421 | [19 empty] | 50 | [7 empty] | NA | NA | NA | [5 empty] | 200
149 | Ta Rung Hka | Identified | I | 26.718 | 96.4683 | Kachin | Myitkyina |  | TaKyet | Chindwin | Chindwin Headwater 1 | Chindwin Headwater 1 | Ta Rung Hka |  |  | 4837 |  | 2957 | 463 | 14601.168 | 95.7205 | [19 empty] | 150 | [7 empty] | NA | NA | NA | [5 empty] | 600
150 | Ta Nai Hka | Identified | I | 26.2942 | 96.9501 | Kachin | Myitkyina |  | Aung Lut | Chindwin | Chindwin Headwater 2 | Chindwin Headwater 2 | Ta Nai Hka |  |  | 2095 |  | 3018 | 168 | 5298.048 | 80.1909 | [19 empty] | 15 | [7 empty] | NA | NA | NA | [5 empty] | 100
151 | Thauk Ye Khat 1 | Identified | I | 18.9386 | 96.7196 | Kayin |  |  |  | Sittaung | Other Sittaung | Other Sittaung | Thauk Ye Khat |  |  | 1621 |  | 2081 | 36 | 1135.296 | 22.2085 | [19 empty] | 150 | [7 empty] | NA | NA | NA | [5 empty] | 600
152 | Yunzalin | Identified | I | 18.295 | 97.3408 | Kayin | Panan |  |  | Thanlwin | Yunzalin | Yunzalin HPP |  |  |  | 1365 |  | 1709 | 40 | 1261.44 | 29.304 | [19 empty] | 100 | [7 empty] | NA | NA | NA | [5 empty] | 400
153 | Lam Pha | Identified | I | 16.305 | 98.3488 | Kayin | Kawareik |  | Lam Pha | Thanlwin | Lam Pha | Lam Pha HPP | Lam Pha |  |  | 81 |  | 3137 | 3.7 | 116.6832 | 45.679 | [19 empty] | 19.5 | [7 empty] | NA | NA | NA | [5 empty] | 100
154 | Mi Chaung | Identified | I | 21.3342 | 93.0735 | Chin | Mindat |  |  | Rakhine | Kaladan | Kaladan | Mi Chaung |  |  | 1296 |  | 2665 |  | 0 | [20 empty] | 200 | [7 empty] | NA | NA | NA | [5 empty] | 800
155 | U Yu Chaung | Identified | I | 24.8659 | 95.2944 | Sagaing | Hkamti |  |  | Chindwin | Uyu | Uyu | Uyu |  |  | 9495 |  | 2187 | 629 | 19836.144 | 66.2454 | [19 empty] | 12 | [7 empty] | NA | NA | NA | [5 empty] | 50
156 | Thein Kun Chaung | Identified | I | 11.7699 | 99.3312 | Tanintharyi | Myeik |  |  | Tanintharyi | Tanintharyi | Tanintharyi | Thein Kun |  |  | 1248 |  | 2123 | 22 | 693.792 | 17.6282 | [19 empty] | 25 | [7 empty] | NA | NA | NA | [5 empty] | 100
157 | Tha Gyet Chaung | Identified | I | 12.1329 | 99.2272 | Tanintharyi |  |  |  | Tanintharyi | Tanintharyi | Tanintharyi | Tha Gyet |  |  | 1104 |  | 2123 | 36 | 1135.296 | 32.6087 | [19 empty] | 20 | [7 empty] | NA | NA | NA | [5 empty] | 100
158 | Glohong Kra | Identified | I | 10.7752 | 98.8583 | Tanintharyi |  |  |  | Tanintharyi | Glohong Kra | Glohong Kra HPP | Glohong Kra |  |  | 60 |  | 2942 | 2.7 | 85.1472 | 45 | [19 empty] | 40 | [7 empty] | NA | NA | NA | [5 empty] | 200
159 | Myet Taw Chaung | Identified | I | 15.682 | 97.9158 | Kayin | Kawareik |  |  | Thanlwin | Myet Taw Chaung | Myet Taw Chaung HPP | Myet Taw Chaung |  |  | 31 |  | 3818 | 2.7 | 85.1472 | 87.0968 | [19 empty] | 10 | [7 empty] | NA | NA | NA | [5 empty] | 40
160 | Mindon | Identified | I | 19.3709 | 94.7129 | Magway | Thayet |  |  | Ayeyarwady | Mindon | Mindon HPP |  |  |  | 676 |  | 1385 | 24 | 756.864 | 35.503 | [19 empty] | 18 | [7 empty] | NA | NA | NA | [5 empty] | 100
161 | Than Dwe | Identified | I | 18.3861 | 94.4939 | Rakhine | Thandwe | Thandwe |  | Rakhine | Than Dwe | Than Dwe HPP | Than Dwe |  |  | 738 |  | 2665 |  | 0 | [20 empty] | 39 | 105 |  | 0.30734 |  |  |  |  | NA | NA | NA | [5 empty] | 200
162 | Kyein Ta Li | Identified | I | 17.95 | 94.5765 | Rakhine |  |  |  | Rakhine | Kyein Ta Li | Kyein Ta Li HPP | Kyein Ta Li |  |  | 880 |  | 2665 |  | 0 | [20 empty] | 28 | 151 |  | 0.61562 |  |  |  |  | NA | NA | NA | [5 empty] | 100
163 | Nam Hkok | Identified | I | 20.1963 | 99.3467 | Shan | Mong Hsat |  |  | Mekong | Nam Hkoke | Nam Hkoke | Nam Hkoke |  |  | 2736 |  | 1368 | 43 | 1356.048 | 15.7164 | [19 empty] | 30 | [7 empty] | NA | NA | NA | [5 empty] | 100
164 | Saing Din | Identified | I | 20.8938 | 92.6522 | Rakhine |  | BuuTheeTaung |  | Rakhine | Saing Din Creek | Saing Din Creeek |  |  |  | 926 |  | 4428 |  | 0 | [20 empty] | 76.5 | 236 |  | 0.35217 |  |  |  |  | NA | NA | NA | 76.5 |  |  |  |  | 300
165 | Sar Ra Wa Chaung | Identified | I | 12.8294 | 98.9817 | Tanintharyi |  |  |  | Tanintharyi | Tanintharyi | Tanintharyi |  |  |  | 1565 |  | 2123 | 72 | 2270.592 | 46.0064 | [19 empty] | 11 | [7 empty] | NA | NA | NA | [5 empty] | 50